## Sheet1
Animals | Surgery and recording sites | Recording sessions | Videos | Description | Progress |  | Histology
Maurice | Surgery on 8.7.2020 (JYu); 4x8 Chs; Left DLS, ML 4.0 mm, AP 1.2 mm, DV 3.7 mm; Electrode tips are visible in brain slices after electrolytic lesions). Took a while for the wound to heal. | 20200816
8.7.2020-? |  | 20200826
20200827
32 Chs Contralateral |  | 20200828
| 11.14.2020 Electrolytic lesion | 20200829
20200830
20200831
20200902
20200903
20200904
20200905
20200909
20200911
20200915
20200918
20200922
20201010 (Dual task in arena)
Al | Surgery on 8.11.2020 (JY); Right DLS and Left mPFC (no activity), DLS array is 4x8 Chs. AP 1.2 mm, ML 4 mm, DV 4.1 mm. Spikes were not impressive. Too small | 20200902 | ?
|  | 20200903 | ?
20200905
20200909
20200917
Tom | Surgery on 6.8.2020 (JY), 16-Ch optrode, Left DLS. Two optic fibers were also implanted in the right DLS, as well as the left DMS (missed). Left DLS mDlx-ChR2 injection DV 4.75, 4; ML3.6, AP 0.5; Optrode DV 4.0 | 20200704 |  | Tone evoked activity
20200706 (tested laser)
20200708 (tested laser)
20200709
20200710
20200711
20200712 (performance is not good?)
20200722 (tested laser)
20200723
|  | 20200731 (found a hold cell?) |  | Units no good. Small, hard to sort. | ×
Mike | Surgery on 4.21.2020, DLS bilateral implant, 16-Chs on the Left side with micro-wire array, 16-Chs on the Right side with micro-electrode array (sharp, from Kedou). Sharp wires quickly died. No signals were collected from the left side. | 20200429 |  | small spikes, 100 uV | undetected, unsorted
Not too many cells. Implant was on the side ipsilateral to lever-pressing paw. |  | 20200506 |  | good data. spikes in left implants, same spikes in multiple channels | detected, need new sorting
|  | 20200507 | AVI | Good data on the left implants | detected, need new sorting
|  | 20200512 |  | Solved grounding problem | detected, need new sorting
|  | 20200514 | AVI | Started to use battery for Bpod. Further improved the noise issue | detected, need new sorting
|  | 20200516 |  |  | detected, need new sorting
|  | 20200519 |  |  | detected
|  | 20200520 |  |  | detected
|  | 20200521 |  |  | detected
Lit | Surgery on 12/31/2020; 4x8 ch implant in the left DLS. DV 4660 um; ML 4.2-4.4; AP 1.2 M1 injected with HM4D virus (CaMKII-HM4D) 4 locations, 1 ul each. (AP 2.5/0.5, ML 2/3.5, DV 1.75/0.75). Large craniotomy for virus and implant (AP -0.5-3.5, ML 1-5); Used 7 screws and 2 grounding screws. | 20200111 | Cannot locate video files. Might be lost. | First day of recording. Good singnals. | undetected, unsorted
20200112
20200113
20200114
20200115
20200116
| Head post might not be stable enough. Got some notes saying that waveforms changed in single sessions | 20200124 |  |  |  | Tracked, 3.11.2021
|  | 20200125 | F:\Video(Ephys)\Lit | DCZ application pre (20min, 001) and post (40min, 003), 004 belongs to a new MED file | Detected 5/15/2021
|  | 20200126 |  | DCZ application pre (30min, 001) and post (30min, 002) | Ran detection 5/19/2021; Spikes sorted. Only [1,3,4,5,6,15] are good | Spikes sorted. Only a few chs are good.
|  | 20200127 |  | DCZ application pre (20min) and post (40min) | Tracked | Need making PSTHs (5.10.2021)
|  | 20200128 |  | DCZ application pre (40 min) and post (40min) | Good data
|  | 20200129 |  | DCZ application pre (20min) and post (20min)
|  | 20200130 |  | DCZ application pre (30min) and post (30min)
|  | 20200131 |  | Saline control 30 min + 20 min(saline injection)
|  | 20200201 |  | DCZ application pre (30min) and post (20min)
|  | 20200203 | Data collected by CJM. Me away from the lab during this time.
20200206
20200201
20200203
20200206
20200209
Du
Eva-1

## CellList
Cell | ANM | Session | Channel | Index | Function
| Lit | 20210112